Minimum requirements for methods part - Mass spectrometry

You can find them in Chroma TOF (GC-method, MS method)

Inlet temperature

Type of column

Carrier gas

Temperature gradient

Split rate (dilution factor)

Electron energy

Detector voltage

Mass range