Standard extraction protocol for metabolites (polar)

Course Metabolomics (WS2018/19)

Modified, from Weckwerth et al. (2004)

Preparation
extraction solvents:

  - methanol/chloroform/water (MCW); 2,5:1:0,5 v/v/v; pre-chill at -20°C

  - internal Standard solution 
1:2 mixture of 5mM Pentaerythritol (PE) + 
5mM Phenyl-ß-D glucopyranoside (PGP)

  - b. 80% Ethanol (v/v)

- precool centrifuge and vacuum concentrator (speedvac)

- prepare tubes for harvest

  - Label one series of 2ml cryo tubes on the side and on the lid 
(only sample number N)

- prepare and label tubes for extraction

  - label 2 series of reaction tubes (safe lock 2ml), including blanks:

    - 1. supernatant (Label with green dot)

    - 2. polar phase after phase separation (Label with red dot)

- get liquid nitrogen (LN2)

Harvest

CAUTION: Liquid nitrogen is very cold (-196°C) and can lead to severe burnings, skin and eye damages! Use personal safety equipment, especially safety glasses!

Use Gloves to avoid contamination of sample!

- for each sample cut 4 leaf discs with the whole punch (5mm) and put into cryo tube (double check for label and sample number!)

- freeze in LN2 immediately

Homogenisation:

- grind plant material in the mortar adding liquid nitrogen until getting a fine powder
  AVOID MELTING!!!

- Put powder back in the original tube

- Weigh 2-3 spatula tips of tissue ~20-25mg into 2ml safe lock tubes:

- Precool all materials (spatula, tubes,…. in LN2)
 avoid melting!!

- Store rest at -80°C

Extraction of metabolites:

CAUTION: Methanol and Chloroform are toxic! Use nitrile gloves, change immediately if contaminated, avoid inhaling. Work under ventilation hood.

- add 500µl of MCW (treat blank in the same way as samples)

- add 15µl of Internal standard Mix

- agitate for 10sec., incubate for 15min. on ice

- centrifuge samples for 4 min. with 21.000g at 4°C (prechill centrifuge!)

- transfer supernatant in new tubes (contains polar/apolar metabolites)

- add additional 250µl of MCW to pellet and repeat previous steps (agitate, incubate, centrifuge); combine supernatants

- add 250l of 80%EtOH to pellets and heat samples to 80°C for 30 min.

  - to prevent loss of extract, please seal the tubes using safety clips!

- Continue with phase separation of pooled MCW extracts:

  - add 250µl of H2Odd

  - mix samples

  - centrifuge samples for 1min, 21.000g, 4°C

  - transfer upper (polar) phase into new tube (with red dot)

- centrifuge EtOH-extracts for 4 min. at 21.000g

- transfer supernatant to polar phase (red dot)

- Dry samples in speed vac applying the following pressure gradient:

  - 200mbar  30min

  - 150mbar  30min

  - 120mbar  30min

  - 80mbar 30min

  - 40mbar 30min

  - 20mbar  30 min

  - 0.001mbaruntil dryness

- Store samples at -20°C until measurements

Derivatization and GC-ToF-MS Analysis

CAUTION: Pyridine and MSTFA are harmful! Use nitrile gloves, change immediately if contaminated, avoid inhaling! Work under ventilation hood.

- Acclimate samples to room temperature (15min)

- IMPORTANT: work under a ventilation hood

- Methoximation

- prepare methoximation mixture : 
dissolve Methoxyamine hydrochloride (CH3ONH2*HCl) at a concentration of 40mg/ml in Pyridine (enough for samples plus blank)

- resolve samples (extracts & blanks & QC) in 40µl methoximation reagent

- incubate samples for 90 min. at 30°C and shake with 750rpm

- Silylation

- add 100µl of MSTFA reagent to each sample

  - MSTFA: N-Methyl-N-(trimethylsilyl) trifluoroacetamide

- incubate for 30min at 37°C

- centrifuge samples, 4min with 14000rpm

- transfer supernatant in GC-microvials and close them with crimp caps

- prepare alkane sample (stock solution, Alkanes C10-C40)

- Measurement (GC-ToF-MS)

- Write acquisition queue to analyse

  - Alkane sample (Retention Index): splitless + Split XX (will be decided after first measurements)

  - QC samples (Quality Control): split XX

  - Samples: split XX

- use full-scan method for profiling